## Kohteen Omaisuudet luettelo
Omaisuus | Kuvaus | Sijainti | Kuvaus | Omaisuuden tunniste | Laitteen SAP tunniste | Business Segment | Divisioona | Toimialue | Kustannuspaikka | Silmukan sijainti | Pääobjekti | Kiertävä nimike | M&TE | Kalibrointi | Toimipaikka
4000001 | 10kV Jännitteenkoetin | 40000000028 | Electronics Laboratory | MI_PHE3 3 10 S |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000002 | Powerbox 3100 Teholähde | 40000000028 | Electronics Laboratory | MI_014-612-412-049 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000003 | Powerbox 3100 Teholähde | 40000000028 | Electronics Laboratory | MI_014-612-412-052 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000004 | Powerbox 3100 Teholähde | 40000000028 | Electronics Laboratory | MI_020-412-412-113 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000005 | Powerbox 3100 Teholähde | 40000000028 | Electronics Laboratory | MI_0227-1241-2289 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000006 | Powerbox 3100 Teholähde | 40000000028 | Electronics Laboratory | MI_0315-1251-2296 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000007 | Powerbox 3100 Teholähde | 40000000028 | Electronics Laboratory | MI_0326-1251-2403 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000008 | Powerbox 3100 Teholähde | 40000000028 | Electronics Laboratory | MI_0326-1251-2405 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000009 | Powerbox 3100 Teholähde | 40000000028 | Electronics Laboratory | MI_0326-1251-2415 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000010 | HIOKI 3522-50 LCR HiTester | 40000000028 | Electronics Laboratory | MI_050334387 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000011 | Efore LPS 750-HV Teholähde | 40000000028 | Electronics Laboratory | MI_05340055 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000012 | Efore LPS 750-HV Teholähde | 40000000028 | Electronics Laboratory | MI_05340056 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000013 | InfraCam Lämpökamera | 40000000028 | Electronics Laboratory | MI_1196364 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000014 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_12030208 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000015 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_12030209 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000016 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_12030210 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000017 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_12030211 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000018 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_12030212 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000019 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_12030214 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000020 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_12030215 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000021 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_12030216 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000022 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_12030217 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000023 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_12030226 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000024 | ProPower PC1320 Teholähde | 40000000028 | Electronics Laboratory | MI_12345 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000025 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_16510579 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000026 | Mastech MY6243 Yleismittari | 40000000028 | Electronics Laboratory | MI_20040609561 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000027 | Testcom LPS 750-HV Teholähde | 40000000028 | Electronics Laboratory | MI_2008-002 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000028 | Testcom LPS 750-HV Teholähde | 40000000028 | Electronics Laboratory | MI_2008-003 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000029 | Efore LPS 750-HV Teholähde | 40000000028 | Electronics Laboratory | MI_217089 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000030 | Efore LPS 750-HV Teholähde | 40000000028 | Electronics Laboratory | MI_217090 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000031 | Efore LPS 750-HV Teholähde | 40000000028 | Electronics Laboratory | MI_217091 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000032 | Schaffner NSG 435 ESD-simulaattori | 40000000028 | Electronics Laboratory | MI_646 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000033 | Fluke 87III Yleismittari | 40000000028 | Electronics Laboratory | MI_75310305 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000034 | Fluke 11 Yleismittari | 40000000028 | Electronics Laboratory | MI_75390430 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000035 | Fluke 185 Yleismittari | 40000000028 | Electronics Laboratory | MI_80260028 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000036 | Fluke 185 Yleismittari | 40000000028 | Electronics Laboratory | MI_80270042 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000037 | Fluke 185 Yleismittari | 40000000028 | Electronics Laboratory | MI_80270043 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000038 | Fluke 185 Yleismittari | 40000000028 | Electronics Laboratory | MI_80270044 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000039 | Fluke 185 Yleismittari | 40000000028 | Electronics Laboratory | MI_80270045 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000040 | Efore LPS 750-HV Teholähde | 40000000028 | Electronics Laboratory | MI_837016 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000041 | IL Power ELU 200/E Elektroninen kuorma | 40000000028 | Electronics Laboratory | MI_908393 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000042 | IL Power ELU 200/E Elektroninen kuorma | 40000000028 | Electronics Laboratory | MI_908394 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000043 | Efore LPS 750-HV Teholähde | 40000000028 | Electronics Laboratory | MI_911026 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000044 | AVO Megger BM80 Eristysvastustesteri | 40000000028 | Electronics Laboratory | MI_94053510130794 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000045 | Tektronix A6302XL Current Probe | 40000000028 | Electronics Laboratory | MI_B010212 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000046 | Tektronix TDS 420A Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_B010661 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000047 | Tektronix TDS 3034B Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_B012328 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000048 | Tektronix P5205 High Voltage Probe | 40000000028 | Electronics Laboratory | MI_B018449 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000049 | Tektronix P5200 Differential Probe | 40000000028 | Electronics Laboratory | MI_B020889 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000050 | Tektronix P5200 Differential Probe | 40000000028 | Electronics Laboratory | MI_B020895 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000051 | Tektronix P5200 Differential Probe | 40000000028 | Electronics Laboratory | MI_B021543 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000052 | Tektronix TDS224 Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_B022048 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000053 | Tektronix P5200 Differential Probe | 40000000028 | Electronics Laboratory | MI_B023536 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000054 | Tektronix P6015A High Voltage Probe | 40000000028 | Electronics Laboratory | MI_B026528 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000055 | Tektronix TM502A Current Amplifier | 40000000028 | Electronics Laboratory | MI_B030365 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000056 | Tektronix AM 503 S Current Amplifier | 40000000028 | Electronics Laboratory | MI_B042953 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000057 | Tektronix A6302 Current Probe | 40000000028 | Electronics Laboratory | MI_B080959 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000058 | Tektronix DPO3034 Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_C010285 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000059 | Tektronix DPO3034 Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_C013613 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000060 | Tektronix DPO3034 Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_C013647 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000061 | MetraHit 30M Yleismittari | 40000000028 | Electronics Laboratory | MI_JI4149 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000062 | IL Power LPS 150 Teholähde | 40000000028 | Electronics Laboratory | MI_MI411359 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000063 | Agilent Tech. 54622D Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_MY40004446 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000064 | Agilent Tech. 54622D Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_MY40006341 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000065 | Agilent Tech. 33120A Function generator | 40000000028 | Electronics Laboratory | MI_MY40019248 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000066 | Agilent Tech. 54645D Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_US39152033 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000067 | Fluke 117 Yleismittari | 40000000025 | Drive Laboratory 2 | MI_15410561 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000068 | 20kV Jännitteenkoetin | 40000000025 | Drive Laboratory 2 | MI_PHE3 6 20 S |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000069 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_TD1812 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000070 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_TD1820 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000071 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_TD1822 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000072 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_TD1824 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000073 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_TD1829 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000074 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_TD1830 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000075 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_TD1842 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000076 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_TD1843 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000077 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_TD1844 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000078 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_TD1847 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000079 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_UE2273 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000080 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_UE2282 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000081 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_UE2289 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000082 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_VA1182 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000083 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_VA1191 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000084 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_VC3507 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000085 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_VD1350 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000086 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_VD1354 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000087 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_VD1357 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000088 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_VE2883 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000089 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_VE2884 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000090 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_VH2255 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000091 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_VH2258 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000092 | ITECH IT6720 Teholähde | 40000000025 | Drive Laboratory 2 | MI_010002156274001088 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000093 | Vitrek V74 Electrical Safety Tester | 40000000025 | Drive Laboratory 2 | MI_019730 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000094 | Tektronix A621 Current Probe | 40000000025 | Drive Laboratory 2 | MI_01FF8785Dv |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000095 | Tektronix A621 Current Probe | 40000000025 | Drive Laboratory 2 | MI_01FF8817 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000096 | Tektronix A621 Current Probe | 40000000025 | Drive Laboratory 2 | MI_01FF8818Dv |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000097 | Tektronix A621 Current Probe | 40000000025 | Drive Laboratory 2 | MI_01KK316362Dv |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000098 | HIOKI 3196 Power Quality Analyzer | 40000000025 | Drive Laboratory 2 | MI_021016525 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000099 | Vitrek V74 Electrical Safety Tester | 40000000025 | Drive Laboratory 2 | MI_021376 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000100 | Tektronix A621 Current Probe | 40000000025 | Drive Laboratory 2 | MI_04HH19641DV |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000101 | HIOKI 3196 Power Quality Analyzer | 40000000025 | Drive Laboratory 2 | MI_050219533 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000102 | HIOKI 9669 Current Probe | 40000000025 | Drive Laboratory 2 | MI_070801900 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000103 | HIOKI 9669 Current Probe | 40000000025 | Drive Laboratory 2 | MI_070801901 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000104 | HIOKI 3196 Power Quality Analyzer | 40000000025 | Drive Laboratory 2 | MI_070810365 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000105 | HIOKI 9669 Current Probe | 40000000025 | Drive Laboratory 2 | MI_071004230 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000106 | HIOKI 9669 Current Probe | 40000000025 | Drive Laboratory 2 | MI_071004231 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000107 | HIOKI 9669 Current Probe | 40000000025 | Drive Laboratory 2 | MI_080312496 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000108 | HIOKI 9669 Current Probe | 40000000025 | Drive Laboratory 2 | MI_080312504 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000109 | HIOKI 9669 Current Probe | 40000000025 | Drive Laboratory 2 | MI_080323301 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000110 | HIOKI 9669 Current Probe | 40000000025 | Drive Laboratory 2 | MI_080323303 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000111 | SI-9010A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_080496 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000112 | HIOKI 9669 Current Probe | 40000000025 | Drive Laboratory 2 | MI_080623533 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000113 | MACC-Plus Current Transducer | 40000000025 | Drive Laboratory 2 | MI_09A0364 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000114 | MACC-Plus Current Transducer | 40000000025 | Drive Laboratory 2 | MI_09A0365 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000115 | MetraHit 25s Yleismittari | 40000000025 | Drive Laboratory 2 | MI_0A4046 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000116 | Metrawatt Z821B Current Probe | 40000000025 | Drive Laboratory 2 | MI_109625 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000117 | Metrawatt Z821B Current Probe | 40000000025 | Drive Laboratory 2 | MI_109634 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000118 | Metrawatt Z821B Current Probe | 40000000025 | Drive Laboratory 2 | MI_109635 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000119 | Metrawatt Z821B Current Probe | 40000000025 | Drive Laboratory 2 | MI_110183 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000120 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11122-12219 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000121 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11123-12220 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000122 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11124-12221 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000123 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11125-12222 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000124 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11126-12223 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000125 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11127-12224 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000126 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11128-12225 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000127 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11129-12226 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000128 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11130-12227 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000129 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11131-12228 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000130 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11132-12229 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000131 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11133-12230 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000132 | HIOKI 3196 Power Quality Analyzer | 40000000025 | Drive Laboratory 2 | MI_1147278 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000133 | MACC-Plus Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11A0240 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000134 | MACC-Plus Current Transducer | 40000000025 | Drive Laboratory 2 | MI_11A1241 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000135 | Tektronix A621 Current Probe | 40000000025 | Drive Laboratory 2 | MI_11CC5565Dv |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000136 | Tektronix A621 Current Probe | 40000000025 | Drive Laboratory 2 | MI_11CC5567 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000137 | Tektronix A621 Current Probe | 40000000025 | Drive Laboratory 2 | MI_11CC5580Dv |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000138 | Tektronix A622 Current Probe | 40000000025 | Drive Laboratory 2 | MI_11GG2801 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000139 | PEM CWT 30xB Mini Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_12923-0539 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000140 | Yokogawa DL708E Piirturi | 40000000025 | Drive Laboratory 2 | MI_12A333805 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000141 | Yokogawa PZ4000 Power Quality Analyzer | 40000000025 | Drive Laboratory 2 | MI_12A406342 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000142 | Yokogawa DX 230 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_12AC26276 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000143 | Yokogawa DX 230 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_12B514613 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000144 | Yokogawa DX 230 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_12BC22939 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000145 | Yokogawa DX 230 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_12BC22941 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000146 | Yokogawa DX 230 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_12C312261 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000147 | Tektronix A621 Current Probe | 40000000025 | Drive Laboratory 2 | MI_12GG5047 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000148 | Pico TA044 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_133166 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000149 | PEM CWT 15LFR Current Transducer | 40000000025 | Drive Laboratory 2 | MI_13331-13848 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000150 | Pico TA044 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_133784 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000151 | Pico TA044 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_137000 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000152 | Pico TA044 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_138087 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000153 | Pico TA044 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_138089 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000154 | NI-USB-6259 Multifunction DAQ | 40000000025 | Drive Laboratory 2 | MI_1448961 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000155 | PEM CWT 6B mini Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_14661-14975 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000156 | PEM CWT 6B mini Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_14662-14976 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000157 | PEM CWT 60B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_14664-14978 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000158 | PEM CWT 60B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_14665-14979 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000159 | PEM CWT 03B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_14666-14980 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000160 | PEM CWT 3B ultramini Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_15804-1049 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000161 | PEM CWT 15LFR Current Transducer | 40000000025 | Drive Laboratory 2 | MI_16676-16178 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000162 | PEM CWT 15LFR Current Transducer | 40000000025 | Drive Laboratory 2 | MI_16677-16179 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000163 | PEM CWT 15LFR Current Transducer | 40000000025 | Drive Laboratory 2 | MI_16678-16180 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000164 | Haefely PIM 100 Impulse Module | 40000000025 | Drive Laboratory 2 | MI_175690 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000165 | Hameg HM 5012 Spectrum Analyser | 40000000025 | Drive Laboratory 2 | MI_1769 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000166 | PEM CWT-3B Current Probe | 40000000025 | Drive Laboratory 2 | MI_18332-17773 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000167 | PEM CWT-3B Current Probe | 40000000025 | Drive Laboratory 2 | MI_18333-17774 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000168 | PEM CWT 30B Current Transducer | 40000000025 | Drive Laboratory 2 | MI_18335-17776 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000169 | Schaffner CDN 300 EMC Testilaite | 40000000025 | Drive Laboratory 2 | MI_198 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000170 | Ahlborn FV A645-TH3 Virtausmittari | 40000000025 | Drive Laboratory 2 | MI_20013028 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000171 | IL Power LPS 750-HV Teholähde | 40000000025 | Drive Laboratory 2 | MI_20062 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000172 | IL Power LPS 750-HV Teholähde | 40000000025 | Drive Laboratory 2 | MI_20064 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000173 | PEM CWT 3B ultramini Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_20126-1757 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000174 | PEM CWT 3B mini Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_20127-19242 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000175 | PEM CWT 3B mini Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_20128-19243 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000176 | Raytek MX2 IR-lämpömittari | 40000000025 | Drive Laboratory 2 | MI_228734_0101_0002 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000177 | KÖNIG RCL 310 RCL siltamittari | 40000000025 | Drive Laboratory 2 | MI_2469 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000178 | Terco MV 4212 | 40000000025 | Drive Laboratory 2 | MI_25355 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000179 | PEM CWT 03B Current Transducer | 40000000025 | Drive Laboratory 2 | MI_25592-23141 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000180 | PEM CWT 03B Current Transducer | 40000000025 | Drive Laboratory 2 | MI_25593-23142 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000181 | PEM CWT 03B Current Transducer | 40000000025 | Drive Laboratory 2 | MI_25594-23143 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000182 | PEM CWT 15B Current Transducer | 40000000025 | Drive Laboratory 2 | MI_26811-23932 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000183 | PEM CWT 15B Current Transducer | 40000000025 | Drive Laboratory 2 | MI_26812-23933 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000184 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_26813-23934 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000185 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_26814-23935 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000186 | Yokogawa DL1640 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_27CA30333 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000187 | Schaffner NSG 1025 EMC Testilaite | 40000000025 | Drive Laboratory 2 | MI_3114 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000188 | PEM Mini CWT 30B Current Transducer | 40000000025 | Drive Laboratory 2 | MI_31540-0108 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000189 | PEM Mini CWT 30B Current Transducer | 40000000025 | Drive Laboratory 2 | MI_31541-0109 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000190 | PEM Mini CWT 30B Current Transducer | 40000000025 | Drive Laboratory 2 | MI_31543-0111 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000191 | PEM CWT HF10B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_32953-5580 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000192 | IL Power LPS 150 Teholähde | 40000000025 | Drive Laboratory 2 | MI_411350 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000193 | IL Power LPS 150 Teholähde | 40000000025 | Drive Laboratory 2 | MI_411358 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000194 | Vibro-Meter Tm122/M1 Vääntömomenttianturi | 40000000025 | Drive Laboratory 2 | MI_412 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000195 | PEM CWT 30A230R Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_4142-4512 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000196 | FLIR A325sc | 40000000025 | Drive Laboratory 2 | MI_48011809 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000197 | PEM CWT 3NR Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_4862-6069 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000198 | PEM CWT 3NR Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_4863-6070 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000199 | PEM CWT 3NR Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_4864-6071 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000200 | PEM CWT 3NR Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_4865-6072 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000201 | Tektronix A621 Current Probe | 40000000025 | Drive Laboratory 2 | MI_51009516 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000202 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_5240-6436 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000203 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_5241-6437 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000204 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_5242-6438 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000205 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_5243-6439 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000206 | PEM CWT 30B Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_5244-6347 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000207 | IL Power LPS 751-HV Teholähde | 40000000025 | Drive Laboratory 2 | MI_536001 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000208 | Fluke 87 Yleismittari | 40000000025 | Drive Laboratory 2 | MI_59070470 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000209 | ITECH IT6721 Teholähde | 40000000025 | Drive Laboratory 2 | MI_600104011706920004 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000210 | ITECH IT6721 Teholähde | 40000000025 | Drive Laboratory 2 | MI_600104011706920006 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000211 | ITECH IT6721 Teholähde | 40000000025 | Drive Laboratory 2 | MI_600104011706920077 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000212 | ITECH IT6721 Teholähde | 40000000025 | Drive Laboratory 2 | MI_600104011716810013 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000213 | PEM CWT 3R Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_6319-7683 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000214 | PEM CWT 3R Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_6320-7684 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000215 | PEM CWT 3R Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_6321-7685 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000216 | PEM CWT 3R Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_6322-7686 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000217 | PEM CWT 3R Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_6323-7687 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000218 | GW GBG-8018G Pulssigeneraattori | 40000000025 | Drive Laboratory 2 | MI_70291 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000219 | Fluke Y8100 Current Probe | 40000000025 | Drive Laboratory 2 | MI_709.74 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000220 | Fluke 89IV Yleismittari | 40000000025 | Drive Laboratory 2 | MI_73620001 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000221 | Fluke i1000s Current Probe | 40000000025 | Drive Laboratory 2 | MI_777656355 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000222 | Fluke 185 Yleismittari | 40000000025 | Drive Laboratory 2 | MI_81530052 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000223 | Furness FCO 10 Painemittari | 40000000025 | Drive Laboratory 2 | MI_9310233 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000224 | Afriso Painemittari | 40000000025 | Drive Laboratory 2 | MI_950650 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000225 | Fluke 87III Yleismittari | 40000000025 | Drive Laboratory 2 | MI_AA0014707 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000226 | Tektronix TCP0150 Current Probe | 40000000025 | Drive Laboratory 2 | MI_B010245 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000227 | Tektronix TCP0150 Current Probe | 40000000025 | Drive Laboratory 2 | MI_B010668 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000228 | Tektronix TCP0150 Current Probe | 40000000025 | Drive Laboratory 2 | MI_B010669 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000229 | Tektronix TCP0030 Current Probe | 40000000025 | Drive Laboratory 2 | MI_B012502 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000230 | Tektronix TCP0030 Current Probe | 40000000025 | Drive Laboratory 2 | MI_B012515 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000231 | Tektronix P5205 High Voltage Probe | 40000000025 | Drive Laboratory 2 | MI_B015727 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000232 | Tektronix P5210 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B016088 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000233 | Tektronix P5210 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B016090 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000234 | Tektronix P5205 High Voltage Probe | 40000000025 | Drive Laboratory 2 | MI_B017342 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000235 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B018292 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000236 | Tektronix P5205 High Voltage Probe | 40000000025 | Drive Laboratory 2 | MI_B018293 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000237 | Tektronix P5205 High Voltage Probe | 40000000025 | Drive Laboratory 2 | MI_B018448 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000238 | Tektronix P5205 High Voltage Probe | 40000000025 | Drive Laboratory 2 | MI_B019545 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000239 | Tektronix P5205 High Voltage Probe | 40000000025 | Drive Laboratory 2 | MI_B019548 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000240 | Tektronix P5205 High Voltage Probe | 40000000025 | Drive Laboratory 2 | MI_B019551 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000241 | Tektronix P5205 High Voltage Probe | 40000000025 | Drive Laboratory 2 | MI_B019554 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000242 | Tektronix TDS 5054 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_B020362 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000243 | Tektronix P5200 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B021428 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000244 | Tektronix P5200 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B022387 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000245 | Tektronix P5200 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B022398 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000246 | Tektronix P5200 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B022407 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000247 | Tektronix TDS 5054B Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_B022791 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000248 | Tektronix TDS 5054B Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_B024023 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000249 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B025038 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000250 | Tektronix P5200 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B025445 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000251 | Tektronix P5200 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B025477 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000252 | Tektronix P5200 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B025483 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000253 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B027444 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000254 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B027541 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000255 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B027759 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000256 | Tektronix TCP202 Current Probe | 40000000025 | Drive Laboratory 2 | MI_B027791 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000257 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B027895 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000258 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B028281 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000259 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B028282 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000260 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B029610 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000261 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B029627 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000262 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B029631 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000263 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B029641 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000264 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B031859 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000265 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B031897 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000266 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B032136 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000267 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_B032143 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000268 | Tektronix P5205 High Voltage Probe | 40000000025 | Drive Laboratory 2 | MI_B032488 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000269 | Tektronix TCP202 Current Probe | 40000000025 | Drive Laboratory 2 | MI_B037467 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000270 | Tektronix TCP202 Current Probe | 40000000025 | Drive Laboratory 2 | MI_B037587 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000271 | Tektronix TDS 5054 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_B040576 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000272 | Tektronix TCP202 Current Probe | 40000000025 | Drive Laboratory 2 | MI_B041802 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000273 | Tektronix DPO 7054 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_B055260 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000274 | Tektronix DPO 7054 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_B056715 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000275 | Tektronix DPO 7054 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_B056716 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000276 | Tektronix P5200A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010168 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000277 | Tektronix DPO5054 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_C010201 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000278 | Tektronix DPO5054 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_C010205 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000279 | Tektronix DPO5054 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_C010207 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000280 | Tektronix DPO5054 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_C010210 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000281 | Tektronix DPO5054 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_C010211 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000282 | Tektronix P5200A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010213 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000283 | Tektronix P5205A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010215 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000284 | Tektronix P5200A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010232 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000285 | Tektronix P5200A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010233 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000286 | Tektronix P5200A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010234 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000287 | Tektronix P5200A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010235 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000288 | Tektronix P5200A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010238 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000289 | Tektronix P5200A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010239 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000290 | Tektronix P5200A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010241 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000291 | Tektronix P5200A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010242 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000292 | Tektronix P5205A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010259 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000293 | Tektronix P5205A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010263 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000294 | Tektronix P5205A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010269 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000295 | Tektronix P5205A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010271 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000296 | Tektronix P5205A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010278 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000297 | Tektronix P5205A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C010284 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000298 | Tektronix TCP0150 Current Probe | 40000000025 | Drive Laboratory 2 | MI_C010629 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000299 | Tektronix DPO3034 Oskilloskooppi | 40000000158 | Reliability Laboratory 1 REL1 | MI_C011413 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000300 | Tektronix DPO3034 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_C011973 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000301 | Tektronix DPO3034 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_C011987 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000302 | Tektronix DPO5054 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_C012294 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000303 | Tektronix DPO5054 Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_C012296 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000304 | Tektronix TCP0150 Current Probe | 40000000025 | Drive Laboratory 2 | MI_C012629 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000305 | Tektronix THDP0100 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C020112 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000306 | Tektronix THDP0100 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C020117 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000307 | Tektronix P5205A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C022432 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000308 | Tektronix P5205A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C022460 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000309 | Tektronix P5205A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C022676 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000310 | Tektronix AFG3102 | 40000000025 | Drive Laboratory 2 | MI_C022729 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000311 | Tektronix P5205 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C023923 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000312 | Tektronix DPO5034B Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_C030236 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000313 | Tektronix DPO5034B Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_C030249 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000314 | Tektronix DPO5034B Oskilloskooppi | 40000000025 | Drive Laboratory 2 | MI_C030257 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000315 | Tenma 72-6635 Sound level meter | 40000000025 | Drive Laboratory 2 | MI_p876004 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000316 | MetraHit Pro Yleismittari | 40000000025 | Drive Laboratory 2 | MI_PL2217 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000317 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_PL2571 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000318 | MetraHit Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_PL2573 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000319 | Metrahit X-tra Yleismittari | 40000000025 | Drive Laboratory 2 | MI_RA2439 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000320 | Metrahit X-tra Yleismittari | 40000000025 | Drive Laboratory 2 | MI_RA2474 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000321 | Yokogawa DX 230 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_S5CC00514 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000322 | Yokogawa MV112 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_S5EC04915 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000323 | Yokogawa DX2048 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_S5GA08811 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000324 | Yokogawa MV1024 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_S5H102138 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000325 | Yokogawa MV112 Termoparilämpöpiirturi | 40000000158 | Reliability Laboratory 1 REL1 | MI_S5H406823 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000326 | Yokogawa DX2048 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_S5HB08158 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000327 | Yokogawa DX2048 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_S5HB08159 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000328 | Yokogawa DX2048 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_S5J703064 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000329 | Yokogawa MV1024 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_S5L411986 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000330 | Yokogawa MV1024 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_S5L411987 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000331 | MetraHit ONE PLUS Yleismittari | 40000000025 | Drive Laboratory 2 | MI_SC1753 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000332 | NI-USB-6259 Multifunction DAQ | 40000000025 | Drive Laboratory 2 | MI_16DBA74 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000333 | Tektronix P5210A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C021316 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000439 | Mitutoyo Surftest SV-2100 Pinnankarheusmittari | 40000000060 | Material Analysis Laboratory | MI_100020807 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000440 | AeroQual series 500 Ilmanlaatumittari | 40000000060 | Material Analysis Laboratory | MI_108121538 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000441 | Leica DMI5000 M Käänteismikroskooppi | 40000000060 | Material Analysis Laboratory | MI_1188724 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000442 | Fluke 568 IR-lämpömittari | 40000000060 | Material Analysis Laboratory | MI_15940007 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000443 | Oxford Instruments 233E Pinnanpaksuusmittari | 40000000060 | Material Analysis Laboratory | MI_20001087 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000444 | SOEKS 01M Säteilymittari | 40000000060 | Material Analysis Laboratory | MI_204-00127 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000445 | Mitytoyo Crystal-Plus M574 Koordinaattimittalaite | 40000000060 | Material Analysis Laboratory | MI_23640321 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000446 | X-rite spektrofotometri Ci62 | 40000000060 | Material Analysis Laboratory | MI_5308 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000447 | Leica MSV269 Mikroskooppi | 40000000060 | Material Analysis Laboratory | MI_5890490 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000448 | Zwick/Roell Z2.5 Vetokone | 40000000060 | Material Analysis Laboratory | MI_712955 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000449 | Thermo Scientific Niton XL3t 970 XRF Analyser | 40000000060 | Material Analysis Laboratory | MI_81069 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000450 | Madgetech Ultrashock loggeri | 40000000060 | Material Analysis Laboratory | MI_MadgetechLoggerMAL |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000451 | Tinytag Shock loggeri | 40000000060 | Material Analysis Laboratory | MI_TinytaploggerMAL |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000533 | Analogipurkki | 40000000158 | Reliability Laboratory 1 REL1 | MI_100458 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000534 | Tektronix A621 Current Probe | 40000000158 | Reliability Laboratory 1 REL1 | MI_11CC5349 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000535 | Nikon SMZ1000 Mikroskooppi | 40000000158 | Reliability Laboratory 1 REL1 | MI_2003775 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000536 | Virtual Bench | 40000000158 | Reliability Laboratory 1 REL1 | MI_305F6E0 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000537 | Analogipurkki | 40000000158 | Reliability Laboratory 1 REL1 | MI_38313 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000538 | Finero AC High Voltage Tester | 40000000158 | Reliability Laboratory 1 REL1 | MI_475296 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000539 | Finero DC High Voltage Tester | 40000000158 | Reliability Laboratory 1 REL1 | MI_551401 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000540 | Rotronic HC2-S Kosteusmittari | 40000000158 | Reliability Laboratory 1 REL1 | MI_60441277 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000541 | Fiber-optic Sensor Signal Conditioner | 40000000158 | Reliability Laboratory 1 REL1 | MI_61Q0221 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000542 | Fiber-optic Sensor Signal Conditioner | 40000000158 | Reliability Laboratory 1 REL1 | MI_61R0237 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000543 | Fiber-optic Sensor Signal Conditioner | 40000000158 | Reliability Laboratory 1 REL1 | MI_61R0249 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000544 | Finero Quanti H100 High Voltage Tester | 40000000158 | Reliability Laboratory 1 REL1 | MI_729713 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000545 | Fluke i1000s Current Probe | 40000000158 | Reliability Laboratory 1 REL1 | mi_804692888 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000546 | Fluke 189 Yleismittari | 40000000158 | Reliability Laboratory 1 REL1 | MI_90240070 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000547 | Tektronix P5205 Differential Probe | 40000000158 | Reliability Laboratory 1 REL1 | MI_B029629 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000548 | Tektronix DPO3034 Oskilloskooppi | 40000000158 | Reliability Laboratory 1 REL1 | MI_C011402 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000549 | Tektronix DPO3034 Oskilloskooppi | 40000000158 | Reliability Laboratory 1 REL1 | MI_C011518 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000550 | Tektronix DPO3034 Oskilloskooppi | 40000000158 | Reliability Laboratory 1 REL1 | MI_C012961 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000551 | Yokogawa MV112 Termoparilämpöpiirturi | 40000000158 | Reliability Laboratory 1 REL1 | MI_S5EC04914 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000552 | Yokogawa MV112 Termoparilämpöpiirturi | 40000000158 | Reliability Laboratory 1 REL1 | MI_S5H406824 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000553 | Yokogawa MV1024 Termoparilämpöpiirturi | 40000000158 | Reliability Laboratory 1 REL1 | MI_S5J904512 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000572 | Työntömitta Limit | 40000000028 | Electronics Laboratory | MI_005 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000573 | Työntömitta Scangrip | 40000000028 | Electronics Laboratory | MI_006 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000574 | Työntömitta Wurth | 40000000028 | Electronics Laboratory | MI_007 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000575 | Työntömitta No Name | 40000000028 | Electronics Laboratory | MI_008 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000576 | Työntömitta Wurth | 40000000028 | Electronics Laboratory | MI_009 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000577 | Työntömitta Wurth | 40000000028 | Electronics Laboratory | MI_010 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000578 | Työntömitta Wurth | 40000000028 | Electronics Laboratory | MI_011 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000579 | Työntömitta Limit Electric | 40000000028 | Electronics Laboratory | MI_012 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000580 | Työntömitta Wurth | 40000000028 | Electronics Laboratory | MI_013 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000582 | Työntömitta Scangrip | 40000000028 | Electronics Laboratory | MI_014 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000583 | Työntömitta No Name | 40000000028 | Electronics Laboratory | MI_015 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000584 | Työntömitta Scala Digi | 40000000028 | Electronics Laboratory | MI_017 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000585 | Työntömitta electric | 40000000028 | Electronics Laboratory | MI_018 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000586 | Työntömitta No Name | 40000000028 | Electronics Laboratory | MI_019 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000587 | Työntömitta | 40000000028 | Electronics Laboratory | MI_020 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000588 | Työntömitta | 40000000028 | Electronics Laboratory | MI_021 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000589 | Työntömitta digital | 40000000028 | Electronics Laboratory | MI_022 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000590 | Työntömitta no name | 40000000028 | Electronics Laboratory | MI_023 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000591 | Työntömitta digital | 40000000028 | Electronics Laboratory | MI_024 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000593 | Micrometer Limit | 40000000028 | Electronics Laboratory | MI_030327579 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000597 | Työntömitta 150mm | 40000000025 | Drive Laboratory 2 | MI_051 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000598 | Työntömitta 200mm | 40000000025 | Drive Laboratory 2 | MI_052 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000604 | Työntömitta 150mm | 40000000025 | Drive Laboratory 2 | MI_059 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000606 | Työntömitta | 40000000028 | Electronics Laboratory | MI_07030196 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000620 | TTI EL302RT Teholähde | 40000000028 | Electronics Laboratory | MI_326328 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000635 | Fluke 185 Yleismittari | 40000000025 | Drive Laboratory 2 | MI_81530055 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000640 | Työntömitta 150mm | 40000000025 | Drive Laboratory 2 | MI_9Q1200501 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000643 | Työntömitta Tesa Digi | 40000000028 | Electronics Laboratory | MI_9Z0344001 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000644 | Työntömitta 150mm | 40000000025 | Drive Laboratory 2 | MI_B16043058 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000647 | Työntömitta electric | 40000000028 | Electronics Laboratory | MI_C1510214311 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000649 | Työntömitta 150mm | 40000000025 | Drive Laboratory 2 | MI_F16086143 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000653 | Työntömitta Wurth | 40000000028 | Electronics Laboratory | MI_F886691 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000655 | Työntömitta M | 40000000028 | Electronics Laboratory | MI_007033 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000656 | Tenma 72-10505 Teholähde | 40000000028 | Electronics Laboratory | Mi_008150016912 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000657 | Itech IT6720 Elektroninen kuorma | 40000000028 | Electronics Laboratory | MI_010002156274001033 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000658 | Hameg HM8030-6 Function generator | 40000000028 | Electronics Laboratory | MI_019437222 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000659 | Hameg HM8012 Teholähde | 40000000028 | Electronics Laboratory | MI_019437225 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000660 | Hameg HM8030-6 Function generator | 40000000028 | Electronics Laboratory | MI_019437237 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000662 | DPG10 - 1500A/E Induktanssimittari | 40000000025 | Drive Laboratory 2 | MI_0252 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000663 | TA-CMI Virtausmittari | 40000000025 | Drive Laboratory 2 | MI_03520171 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000664 | TA-CMI Virtausmittari | 40000000025 | Drive Laboratory 2 | MI_03520172 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000665 | Tektronix A621 Current Probe | 40000000028 | Electronics Laboratory | MI_05JJ32151DV |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000666 | Tektronix A621 Current Probe | 40000000028 | Electronics Laboratory | MI_05JJ32171DV |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000667 | Tektronix A621 Current Probe | 40000000028 | Electronics Laboratory | MI_05JJ32200DV |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000668 | Muuntosähkö Induktanssimittari | 40000000025 | Drive Laboratory 2 | MI_08/2007 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000670 | PEM CWT 30R Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_10216-11469 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000671 | PEM CWT 30R Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_10218-11471 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000672 | UNI-T UT804 Yleismittari | 40000000028 | Electronics Laboratory | MI_1080858373 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000675 | SKF TKED1 Electrical Discharge Detector | 40000000025 | Drive Laboratory 2 | MI_113439 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000676 | Powecon PWL200 Teholähde | 40000000028 | Electronics Laboratory | MI_1145006 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000677 | Powecon PWL200 Teholähde | 40000000028 | Electronics Laboratory | MI_1145007 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000680 | Fluke 175 Yleismittari | 40000000028 | Electronics Laboratory | MI_14970185 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000681 | Wigam ELD-H Vuodonetsin | 40000000025 | Drive Laboratory 2 | MI_152018 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000682 | NI-USB-6259 Multifunction DAQ | 40000000025 | Drive Laboratory 2 | MI_15940DE |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000683 | PEM CWT 3B Current Probe | 40000000025 | Drive Laboratory 2 | MI_18334-17775 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000686 | Testcom TC-LPS 1500 Teholähde | 40000000028 | Electronics Laboratory | MI_2012-051 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000687 | Testcom TC-LPS1500-HV Teholähde | 40000000025 | Drive Laboratory 2 | MI_2016-049 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000688 | Testcom TC-LPS1500-HV Teholähde | 40000000025 | Drive Laboratory 2 | MI_2017-011 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000691 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_26290213 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000692 | Fluke179 Yleismittari | 40000000028 | Electronics Laboratory | MI_26520450 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000693 | Fluke 179 Yleismittari | 40000000028 | Electronics Laboratory | MI_26730090 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000694 | Muuntosähkö suurivirtainen induktanssimittari | 40000000025 | Drive Laboratory 2 | MI_27/2009 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000695 | NI VB-8012 Virtual Bench | 40000000028 | Electronics Laboratory | MI_305E94E |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000699 | Keithley 2010 Yleismittari | 40000000028 | Electronics Laboratory | MI_4000239 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000700 | MIC-4070D LCR METER | 40000000028 | Electronics Laboratory | MI_40702070330 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000703 | Venable 3120 FRA Frequency response analyzer | 40000000025 | Drive Laboratory 2 | MI_58243386 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000705 | Chroma 6314 Elektroninen kuorma | 40000000028 | Electronics Laboratory | MI_63147353 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000706 | Työntömitta | 40000000028 | Electronics Laboratory | MI_711190 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000708 | Beppe bearing predictor | 40000000025 | Drive Laboratory 2 | MI_8061600 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000709 | BK Precision 8540 Elektroninen kuorma | 40000000028 | Electronics Laboratory | MI_85400123510120415 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000711 | Yokogawa DLM2054 Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_91K814561 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000716 | Chroma 11021 LCR METER | 40000000028 | Electronics Laboratory | MI_AA0110210611 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000717 | Tektronix TCP202 Current Probe | 40000000028 | Electronics Laboratory | MI_B001001 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000718 | Tektronix TAP1500 Active Probe | 40000000028 | Electronics Laboratory | MI_B029882 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000719 | Tektronix TAP1500 Active Probe | 40000000028 | Electronics Laboratory | MI_B032076 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000720 | Tektronix THS 720P Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_B040451 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000721 | Tektronix DPO 4104 Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_C020763 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000725 | Agilent 53132A Universal Counter | 40000000028 | Electronics Laboratory | MI_MY40009439 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000726 | Agilent 33220A Function generator | 40000000028 | Electronics Laboratory | MI_MY44030915 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000728 | Agilent 33210A Function generator | 40000000028 | Electronics Laboratory | MI_MY48013006 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000729 | Keysight 34410A Yleismittari | 40000000028 | Electronics Laboratory | MI_MY53017559 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000730 | Agilent U8032A Teholähde | 40000000028 | Electronics Laboratory | MI_MY53270001 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000731 | Agilent U8032A Teholähde | 40000000028 | Electronics Laboratory | MI_MY53270002 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000732 | Keysight DSO-S 404A Oskilloskooppi | 40000000028 | Electronics Laboratory | MI_MY54410110 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000733 | Yokogawa GP10 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_S5P405296 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000734 | Yokogawa DX2048 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_S5T403311 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000735 | Yokogawa DX2048 Termoparilämpöpiirturi | 40000000025 | Drive Laboratory 2 | MI_S5T403312 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4000736 | MetraHIT Base Yleismittari | 40000000025 | Drive Laboratory 2 | MI_TD1836 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4003590 | Tektronix P5205A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C030210 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4003592 | Tektronix P5205A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C030213 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4003593 | PEM CWT 3R Rogowski Current Transducer | 40000000025 | Drive Laboratory 2 | MI_6324-7688 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4003597 | Sorensen XPF 60-20D Teholähde | 40000000025 | Drive Laboratory 2 | MI_J003440881 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4003602 | Tektronix P5200A Differential Probe | 40000000025 | Drive Laboratory 2 | MI_C024429 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4003620 | BK Precision 8540 Elektroninen kuorma | 40000000025 | Drive Laboratory 2 | MI_600149011727220041 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4003621 | BK Precision 8540 Elektroninen kuorma | 40000000025 | Drive Laboratory 2 | MI_600149011727220003 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4003626 | Yokogawa MV1024 Termoparilämpöpiirturi | 40000000158 | Reliability Laboratory 1 REL1 | MI_S5L411989 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4003628 | Yokogawa GP10 20ch | 40000000158 | Reliability Laboratory 1 REL1 | MI_S5T312127 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4003630 | Pico TA044 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_1709119 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA
4003631 | Pico TA044 Differential Probe | 40000000025 | Drive Laboratory 2 | MI_1709140 |  | DDS |  | RND | VADL07 |  |  |  | E | E | FIVAA